## Balickera
WATER AND WETLANDS OF BALICKERA CANAL - MONTHLY POLLUTION MONITORING SUMMARY - JUNE 2021
| Environment Protection Licence No. 5346 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: N/A | [5 empty] | 36 Honeysuckle Drive
| Date Published: 20 July 2021 | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Water Quality Monitoring
Site Code | Balickera Canal flood gate labelled "1" on topographic map titled "Karuah 9232-I-S"
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
01 June 2021 to 30 June 2021
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum (ug/L) | Value (ug/L) | Value (ug/L) | Maximum | Limit | Actual | Limit | Actual | Limits
Glyphosate | microsgrams per litre | Special Frequency 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Metsulfuron-methyl | microsgrams per litre | Special Frequency 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Water Quality Monitoring
Site Code | Balickera Canal Labelled "2" on topographic map titled "Karuah 92323-I-S"
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
01 June 2021 to 30 June 2021
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Glyphosate | microsgrams per litre | Special Frequency 1 | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Metsulfuron-methyl | microsgrams per litre | Special Frequency 1 | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Water Quality
Site Code | Balickera Canal radia gates labelled "3" on topographic map titled "Maitland 9232-IV-S"
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
01 June 2021 to 30 June 2021
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Glyphosate | microsgrams per litre | Special Frequency 1 | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Metsulfuron-methyl | microsgrams per litre | Special Frequency 1 | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
* There was no spraying of pesticides during the month (and thus no results). Licence allows us to apply herbicide 3 times during each growing period, which is nominally between 1 Oct and 31 Mar, however it could be as late as the end of April for the 3rd Application.

## Dungog WWTW Old (hidden)
DUNGOG WASTEWATER TREATMENT WORKS - MARCH MONTHLY POLLUTION MONITORING SUMMARY
|  | Environment Protection Licence No. 4197 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 4 April 2017 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: | [7 empty] | NEWCASTLE WEST NSW 2302
FORMAT NEEDS TO CHANGE FOR APRIL REPORT
QUALITY MONITORING
EPA Id. No. 3 - Site Code 5DU0001 EPA Id. No. 4 - Site Code 5DU0006 EPA Id. No. 5 - Site Code 5DU0016 |  | Site Description - Discharge to Utilisation Area Site Description - Pumped Discharges to Williams River Site Description - Overflow from Wet Weather Storage Pond
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 March 2017 to 31 March 2017
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency * |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 3 | 9.75 | 9.5 | 17 | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | Chloro-a | micrograms per litre | (cfu/100ml) | Weekly | WEEKLY | 4 | 15 | 37.975 | 30.95 | 75 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Weekly | WEEKLY | 4 | 2000 | 3850 | 2200 | 9000 | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 6.1 | 7.975 | 8.1 | 9.6 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 4 | 7.59 | 7.715 | 7.66 | 7.95 | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | TP | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 3.4 | 3.7 | 3.55 | 4.3 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 6 | 15.5 | 15 | 26 | N/A | N/A | N/A | N/A | N/A
* As per the note under the licence condition M2.3, it is acceptable for the licensee to take a single sample of Storage Pond water (5DU0001) to meet the monitoring requirements for Points 3, 4 and 5.
EPA Id. No. 8 |  | Site Description - Humus Effluent
Site Code 5DU0002
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 March 2017 to 31 March 2017
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 23 | 31.5 | 30.5 | 42 | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | Chloro-a | micrograms per litre | (cfu/100ml) | Weekly | WEEKLY | 4 | 2.9 | 15.575 | 12.35 | 34.7 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Weekly | WEEKLY | 4 | 540000 | 1860000 | 1450000 | 4000000 | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 18.5 | 21.225 | 19.95 | 26.5 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | <2 | 2.25 | <2 | 3 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 4 | 7.15 | 7.225 | 7.205 | 7.34 | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | TP | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 3.3 | 4.275 | 4 | 5.8 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 7 | 48.25 | 44 | 98 | N/A | N/A | N/A | N/A | N/A