## Belmont
BELMONT WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2020-21
| Environment Protection Licence No. 1771 |  |  |  | Hunter Water Corporation
| Date Obtained: 1 July 2021 |  |  |  | 36 Honeysuckle Drive
| Date Published: 21 July 2021 |  |  |  | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Ocean Outfall Balance Tank
Site Code 5SJ0100
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 July 2020 - 30 June 2021
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of measurements | Actual | Limit | Actual | Limits
Aldrin | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
alpha-BHC | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Arsenic | micrograms per litre | 2 times a year | 2 | 2.1 | 2.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
beta-BHC | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | milligrams per litre | Every 12 days exactly | 30 | <2 | 73 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Cadmium | micrograms per litre | 2 times a year | 2 | <0.2 | <0.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlordane, total | micrograms per litre | 2 times a year | 2 | <0.01 | <0.020 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chromium | micrograms per litre | 2 times a year | 2 | 0.7 | 1.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Copper | micrograms per litre | 2 times a year | 2 | 1.8 | 2.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Dieldrin | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Endosulfan | micrograms per litre | 2 times a year | 2 | <0.010 | <0.030 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Endrin | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Heptachlor | micrograms per litre | 2 times a year | 2 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Lead | micrograms per litre | 2 times a year | 2 | <0.2 | 0.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Mercury | micrograms per litre | 2 times a year | 2 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Methoxychlor | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nickel | micrograms per litre | 2 times a year | 2 | 1.6 | 1.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Every 12 days exactly | 30 | <2 | <5 | 5 | <2 | 10 | <2 | 15 | 0* | - | N/A | N/A | Yes
p,p-DDD | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
p,p-DDE | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
p,p-DDT | micrograms per litre | 2 times a year | 2 | <0.010 | <0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | micrograms per litre | 2 times a year | 2 | <0.10 | <0.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Selenium | micrograms per litre | 2 times a year | 2 | 0.2 | 0.3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Silver | micrograms per litre | 2 times a year | 2 | <1.0 | <1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Every 12 days exactly | 30 | <1 | 103 | 35 | 6 | 50 | 14 | 60 | 2 | 139 | N/A | N/A | No
Zinc | micrograms per litre | 2 times a year | 2 | 23 | 24 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
*No 3DGM calculations were required during the 2020-21 Annual Return Period
EPA Id. No. 18 | Site Description - Groundwater Discharge to Ocean Outfall
Site Code 5BE1074
|  |  | No. of times measured during the year for licence reporting# | Annual Summary
1 July 2020 - 30 June 2021
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of measurements | Actual | Limit | Actual | Limits
Oil and Grease | milligrams per litre | Daily during any discharge | 0 | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 10 | - | Yes
pH | pH | Daily during any discharge | 0 | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 6.5 - 8.5 | - | Yes
Total Suspended Solids | milligrams per litre | Daily during any discharge | 0 | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 50 | - | Yes
#No discharge was recorded from Point 18 during the 2020-2021 Annual Return Period
VOLUME MONITORING
Annual Summary
1 July 2020 - 30 June 2021
Monitoring Point |  | Unit of | Sampling | No. of times measured during the year |  |  |  |  | Volume | Within
|  | Measurement | Frequency |  |  | Minimum | Mean | Maximum | Limit | Limits?
Point 1 - Ocean Outfall Balance Tank |  | kilolitres per day | Daily | 365 |  | 35585 | 67943 | 304686 | 475000 | Yes
Point 2 - Belmont Inflow |  | kilolitres per day | Daily | 365 |  | 21642 | 33182 | 79346 | N/A | N/A
Point 3 - Belmont Bypass |  | kilolitres per day | Daily | 365 |  | 0 | 3833 | 162980 | N/A | N/A
Point 5 - Cardiff Point Flow Meter |  | kilolitres per day | Daily | 365 |  | 9948 | 30928 | 62404 | N/A | N/A
Point 18 - Groundwater Discharge to Ocean Outfall |  | kilolitres per day | Daily during discharge | 0 |  | - | - | - | N/A | N/A