## Boulder Bay
BOULDER BAY WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - AUGUST 2020
|  | Environment Protection Licence No. 358 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 September 2020 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 18 September 2020 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Outfall distribution chamber
Site Code 5SJ0400
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2020 to 31 August 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | 0.2 | 0.2 | 0.2 | 0.2 | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Every 12 days exactly | Twelvedays | 2 | 2 | 3 | 3 | 4 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.2 | <0.2 | <0.2 | <0.2 | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.020 | <0.020 | <0.020 | <0.020 | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | 0.3 | 0.3 | 0.3 | 0.3 | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | 0.9 | 0.9 | 0.9 | 0.9 | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.030 | <0.030 | <0.030 | <0.030 | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.005 | <0.005 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.2 | <0.2 | <0.2 | <0.2 | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.1 | <0.1 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | 2.7 | 2.7 | 2.7 | 2.7 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 12 days exactly | Twelvedays | 2 | <2 | <4 | <4 | <5 | 15 | -* | N/A | N/A | Yes
p,p-DDD | DDD | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.10 | <0.10 | <0.10 | <0.10 | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <0.2 | <0.2 | <0.2 | <0.2 | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | <1.0 | <1.0 | <1.0 | <1.0 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Every 12 days exactly | Twelvedays | 2 | <1 | 1.5 | 1.5 | 2 | 60 | -* | N/A | N/A | Yes
Zinc | Zn | micrograms per litre | (µg/L) | 2 times a year | BI-ANNUAL | 1 | 36 | 36 | 36 | 36 | N/A | N/A | N/A | N/A | N/A
* No 3DGM calculations required by licence this month.
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  | 54
Monthly Summary
1 August 2020 to 31 August 2020
Monitoring Point |  |  | Flow Column | Unit of | Raw Output | Sampling | No. of times measured during the month |  |  |  |  | Volume | Within Limits
|  |  |  | Measurement | (ML or KL) | Frequency |  |  | Minimum | Mean | Maximum | Limit
Point 1 - Outfall Distribution Chamber |  |  | 4 | kilolitres per day | 9.45 | Daily | 31 |  | 7480 | 8451 | 9450 | 80000 | Yes
Point 2 - Inlet Channel |  |  | 5 | kilolitres per day | 9.45 | Daily | 31 |  | 7480 | 8451 | 9450 | N/A | N/A
Point 3 - Bypass Channel |  |  | 7 | kilolitres per day | 0 | Daily | 31 |  | 0 | 0 | 0 | N/A | N/A
Chlorophyll 'a'
Chlorophyll 'a'
Point 3 - Effluent Utilisation Pump
Point 4 - Pump Discharges from Dam to Williams River
Point 5 - Overflow Drain to Williams River
Note on D52: awebb: Last row of flow table