## Burwood Beach
BURWOOD BEACH WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - AUGUST 2020
|  | Environment Protection Licence No. 1683 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 4 September 2020 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 18 September 2020 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Inspection pit down stream of the secondary clarifier and the wet weather bypass chamber
Site Code 5SL0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2020 to 31 August 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | 30 | 35.5 | 35.5 | 41 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | <2 | <4 | <4 | <5 | 15 | -* | N/A | N/A | Yes
p,p-DDD | DDD | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | 25 | 31 | 31 | 37 | 60 | -* | N/A | N/A | Yes
Zinc | Zn | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No 3DGM calculations required by licence this month.
P3
Test
EPA Id. No. 3 |  | Site Description - Sludge pumping station
Site Code 5CB0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2020 to 31 August 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 18 | 25.3 | 24.6 | 34 | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 2.1 | 3.525 | 3.75 | 4.5 | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.020 | <0.020 | <0.020 | <0.020 | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 25.7 | 43.325 | 46.7 | 54.2 | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 683 | 1080.5 | 964.5 | 1710 | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.030 | <0.030 | <0.030 | <0.030 | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.005 | <0.005 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 81.8 | 127.2 | 132 | 163 | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 0.2 | 0.4 | 0.5 | 0.5 | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 31.1 | 48.6 | 45.85 | 71.6 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 14.7 | 24.72 | 23.6 | 32.3 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 6 | 17.4 | 20 | 29 | N/A | N/A | N/A | N/A | N/A
p,p-DDD | DDD | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.10 | <0.10 | <0.10 | <0.10 | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 7.5 | 12.975 | 12.6 | 19.2 | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 8 | 10.25 | 9.5 | 14 | N/A | N/A | N/A | N/A | N/A
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly | INCLUDE? | 5 | 0.33 | 0.444 | 0.48 | 0.56 | N/A | N/A | N/A | N/A | N/A
Zinc | Zn | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1750 | 3015 | 2940 | 4430 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 10 |  | Site Description - Pump well between clarifier and the sludge line
Site Code 5SG0601
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2020 to 31 August 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | <0.10 | <0.10 | <0.10 | <0.10 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 11 |  | Site Description - Scum pump well
Site Code 5CC0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2020 to 31 August 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | 0.23 | 0.372 | 0.32 | 0.72 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  | 116
Monthly Summary
1 August 2020 to 31 August 2020
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Ocean Outfall |  |  | 12 | kilolitres per day | 94423.935 | Daily | 31 |  | 44789 | 59378 | 94423.935 | 510000 | Yes
Point 3 - Sludge Pumping Station |  |  | 11 | kilolitres per day | 2446.514 | Daily | 31 |  | 2112 | 2358 | 2446.514 | 5000 | Yes
Point 10 - Sludge Dilution |  |  | 10 | kilolitres per day | 0 | Daily | 31 |  | 0 | 0 | 0 | N/A | N/A
Point 11 - Scum Pumping Station |  |  | 15 | kilolitres per day | 46.386 | Daily | 31 |  | 27 | 34 | 46 | N/A | N/A
Point 12 - Total Volume |  |  | 3 | kilolitres per day | 96.8 | Daily | 31 |  | 47200 | 61735 | 96800 | N/A | N/A
Point 13 - Treated Volume |  |  | 4 | kilolitres per day | 84 | Daily | 31 |  | 43800 | 58787 | 84000 | N/A | N/A
Point 17 - Bypass Volume |  |  | 9 | kilolitres per day | 12.8 | Daily | 31 |  | 1500 | 2948 | 12800 | N/A | N/A
Note on D109: awebb: Last row of flow table