## Burwood Beach
BURWOOD BEACH WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - JANUARY 2021
|  | Environment Protection Licence No. 1683 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 2 February 2021 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 19 February 2021 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Inspection pit down stream of the secondary clarifier and the wet weather bypass chamber
Site Code 5SL0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 January 2021 to 31 January 2021
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | 21 | 25.5 | 25.5 | 30 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | <2 | <2 | <2 | <2 | 15 | -* | N/A | N/A | Yes
p,p-DDD | DDD | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 2 | 2 | 4 | 4 | 6 | 60 | -* | N/A | N/A | Yes
Zinc | Zn | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No 3DGM calculations required by licence this month.
P3
Test
EPA Id. No. 3 |  | Site Description - Sludge pumping station
Site Code 5CB0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 January 2021 to 31 January 2021
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 4.4 | 19.45 | 20.35 | 32.7 | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 0.3 | 2.2 | 2.2 | 4.2 | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.020 | <0.020 | <0.020 | <0.020 | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 3.8 | 30.45 | 29.9 | 58.2 | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 140 | 762 | 780 | 1350 | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.005 | <0.005 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 10.8 | 103.2 | 113.6 | 175 | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | <0.1 | 0.2 | 0.1 | 0.4 | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 6.8 | 39.9 | 41.7 | 69.2 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 8.9 | 17.7 | 20.3 | 21.3 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 16 | 48 | 48 | 73 | N/A | N/A | N/A | N/A | N/A
p,p-DDD | DDD | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.010 | <0.010 | <0.010 | <0.010 | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.10 | <0.10 | <0.10 | <0.10 | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1.3 | 8.8 | 8.8 | 16.4 | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1 | 7 | 4 | 17 | N/A | N/A | N/A | N/A | N/A
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly | INCLUDE? | 5 | 0.22 | 0.34 | 0.29 | 0.65 | N/A | N/A | N/A | N/A | N/A
Zinc | Zn | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 328 | 2227 | 2365 | 3850 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 10 |  | Site Description - Pump well between clarifier and the sludge line
Site Code 5SG0601
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 January 2021 to 31 January 2021
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | <0.10 | <0.10 | <0.10 | <0.10 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 11 |  | Site Description - Scum pump well
Site Code 5CC0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 January 2021 to 31 January 2021
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | 0.19 | 1.38 | 1.08 | 3.59 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  | 116
Monthly Summary
1 January 2021 to 31 January 2021
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Ocean Outfall |  |  | 12 | kilolitres per day | 283841.974 | Daily | 31 |  | 38953 | 72952 | 283841 | 510000 | Yes
Point 3 - Sludge Pumping Station |  |  | 11 | kilolitres per day | 2568.872 | Daily | 31 |  | 1721 | 2374 | 2569 | 5000 | Yes
Point 10 - Sludge Dilution |  |  | 10 | kilolitres per day | 0 | Daily | 31 |  | 0 | 0 | 0 | N/A | N/A
Point 11 - Scum Pumping Station |  |  | 15 | kilolitres per day | 46.386 | Daily | 31 |  | 5 | 17 | 35 | N/A | N/A
Point 12 - Total Volume |  |  | 3 | kilolitres per day | 96.8 | Daily | 31 |  | 41400 | 75326 | 286300 | N/A | N/A
Point 13 - Treated Volume |  |  | 4 | kilolitres per day | 84 | Daily | 31 |  | 39060 | 64021 | 125280 | N/A | N/A
Point 17 - Bypass Volume |  |  | 9 | kilolitres per day | 12.8 | Daily | 31 |  | 1700 | 11305 | 161020 | N/A | N/A
Note on D109: awebb: Last row of flow table