## Burwood Beach
BURWOOD BEACH WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - FEBRUARY 2024
|  | Environment Protection Licence No. 1683 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 6 March 2024 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 21 March 2024 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Inspection pit down stream of the secondary clarifier and the wet weather bypass chamber
Site Code 5SL0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 3 | 19 | 20.3333 | 19 | 23 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 3 | <2 | <2 | <2 | <2 | 15 | -* | N/A | N/A | Yes
p,p-DDD | DDD | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Every 12 days exactly | Fortnightly | 3 | 10 | 13.6667 | 15 | 16 | 60 | -* | N/A | N/A | Yes
Zinc | Zn | micrograms per litre | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No 3DGM calculations required by licence this month.
P3
Test
EPA Id. No. 3 |  | Site Description - Sludge pumping station
Site Code 5CB0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 11 | 17 | 15.15 | 26.7 | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1.57 | 2.58 | 2.41 | 3.92 | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 17.1 | 29.25 | 27.25 | 45.4 | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 129 | 1046 | 1197.5 | 1660 | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Enterococci | Faecal Coliforms | most-probable number |  | Every 6 days exactly |  | 5 | >240000 | 766000 | 670000 | 1300000 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | Faecal Coliforms | most-probable number |  | Every 6 days exactly |  | 5 | >240000 | 2228000 | 2400000 | 3700000 | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.005 | <0.005 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 91.3 | 147.325 | 148.5 | 201 | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 0.6 | 0.875 | 0.85 | 1.2 | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 32 | 61.15 | 41.3 | 130 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 14.6 | 21.98 | 17.4 | 34.1 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Every 6 days exactly | INCLUDE? | 5 | 32 | 131.8 | 116 | 272 | N/A | N/A | N/A | N/A | N/A
p,p-DDD | DDD | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre | (µg/L) | Monthly | INCLUDE? | 1 | <0.1 | <0.1 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1.6 | 8.25 | 7.6 | 16.2 | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | <1 | 6.225 | 6.95 | 10 | N/A | N/A | N/A | N/A | N/A
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly | INCLUDE? | 5 | 0.4 | 0.54 | 0.6 | 0.6 | N/A | N/A | N/A | N/A | N/A
Zinc | Zn | micrograms per litre | (µg/L) | Weekly | INCLUDE? | 4 | 1590 | 2480 | 2620 | 3090 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 10 |  | Site Description - Pump well between clarifier and the sludge line
Site Code 5SG0601
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | <0.1 | <0.1 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 11 |  | Site Description - Scum pump well
Site Code 5CC0600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight | % | Every 6 days exactly |  | 5 | <0.1 | 0.14 | <0.1 | 0.3 | N/A | N/A | N/A | N/A | N/A
GROUND WATER MONITORING
EPA Id. No. 21 |  | Site Description - GW01 - upgradient bore north of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 22 |  | Site Description - GW02 - upgradient bore north of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 23 |  | Site Description - GW03 - upgradient bore northwest of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 24 |  | Site Description - GW04 - downgradient bore southwest of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 25 |  | Site Description - GW05 - downgradient bore south of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 26 |  | Site Description - GW06 - downgradient bore, southeast of plant
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Alkalinity (as calcium carbonate) | Aldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Aluminium | Al | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Ammonia | α-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Barium | β-BHC | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Beryllium | BOD | milligrams per litre | (mg/L) | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Boron | Cd (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cadmium |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Calcium | Chlordane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chloride |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Cobalt | Cl- | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cr (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
E. coli | Cond | most-probable number | (dS/cm) | Quarterly | QUARTERLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Electrical conductivity | Cu (EPA) | microsiemens per centimetre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Fluoride | Dieldrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron | Endosulphan | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Endrin | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Magnesium | FC Hdn | milligrams per litre | (CFU/100 ml) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Manganese | Lindane | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Heptachlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | HCB | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate | Fe (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Pb (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Mg | pH | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Mn (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Potassium | Hg (EPA) | milligrams per litre | (mg/L) | Quarterly | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Reactive Phosphorus | Methoxychlor | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Nitrate | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sodium | pH | milligrams per litre | pH | Quarterly | WEEKLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Standing Water Level | PCB | metres | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Sulfate | DDD | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Themotolerant Coliforms | DDE | most-probable number | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total chromium | DDT | milligrams per litre | (mg/L) | Quarterly | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen |  | milligrams per litre | (mg/L) | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Vanadium |  | milligrams per litre |  | Quarterly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Zinc | TN | milligrams per litre | (mg/L) | Quarterly | MONTHLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 27 |  | Site Description - Effluent monitoring downstream of UV disinfection
Site Code 5SL0612
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 February 2024 to 29 February 2024
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Every 6 days exactly | INCLUDE? | 5 | ~30 | 110 | 120 | ~160 | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL | (cfu/100ml) | Every 6 days exactly | INCLUDE? | 5 | ~2 | 5.6 | ~6 | ~10 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  | 391
Monthly Summary
1 February 2024 to 29 February 2024
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Ocean Outfall |  |  | 12 | kilolitres per day | 173199.679 | Daily | 29 |  | 40486 | 63453 | 154503 | 510000 | Yes
Point 3 - Sludge Pumping Station |  |  | 11 | kilolitres per day | 2541.308 | Daily | 29 |  | 2377 | 2502 | 2595 | 5000 | Yes
Point 10 - Sludge Dilution |  |  | 10 | kilolitres per day | 0 | Daily | 29 |  | 0 | 0 | 0 | N/A | N/A
Point 11 - Scum Pumping Station |  |  | 15 | kilolitres per day | 46.386 | Daily | 29 |  | 34 | 43 | 118 | N/A | N/A
Point 12 - Total Volume |  |  | 3 | kilolitres per day | 96.8 | Continuous | 29 |  | 43000 | 65955 | 157000 | N/A | N/A
Point 13 - Treated Volume |  |  | 4 | kilolitres per day | 84 | Continuous | 29 |  | 40120 | 58798 | 111510 | N/A | N/A
Point 17 - Bypass Volume |  |  | 9 | kilolitres per day | 12.8 | Daily | 29 |  | 1350 | 7158 | 45490 | N/A | N/A
Note on D390: awebb: Last row of flow table