## Burwood Beach
BURWOOD BEACH WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - JUNE 2026
|  | Environment Protection Licence No. 1683 | [7 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 3 July 2026 | [8 empty] | 36 Honeysuckle Drive
|  | Date Published: 21 July 2026 | [8 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Inspection pit down stream of the secondary clarifier and the wet weather bypass chamber
Site Code 5SL0600
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Every 12 days exactly | Fortnightly | 3 | 11 | 14.3333 | 12 | 20 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Every 12 days exactly | Fortnightly | 3 | <2 | 2.3333 | <2 | 3 | 15 | -* | N/A | N/A | Yes
p,p-DDD | DDD | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre |  | (mg/L) | Every 12 days exactly | Fortnightly | 3 | 6 | 7.6667 | 6 | 11 | 60 | -* | N/A | N/A | Yes
Zinc | Zn | micrograms per litre |  | (µg/L) | 2 times a year | Bi-Annual | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No 3DGM calculations required by licence this month.
P3
Test
EPA Id. No. 3 |  | Site Description - Sludge pumping station
Site Code 5CB0600
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Aldrin | Aldrin | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
alpha-BHC | α-BHC | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Arsenic | As | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 7.5 | 19.2 | 17.5 | 33.3 | N/A | N/A | N/A | N/A | N/A
beta-BHC | β-BHC | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Cadmium | Cd | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 0.93 | 2.148 | 1.68 | 3.72 | N/A | N/A | N/A | N/A | N/A
Chlordane, total | Chlordane | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Chromium | Cr | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 9.7 | 23.66 | 20.1 | 38.4 | N/A | N/A | N/A | N/A | N/A
Copper | Cu | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 263 | 946.8 | 834 | 1500 | N/A | N/A | N/A | N/A | N/A
Dieldrin | Dieldrin | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Endosulfan | Endosulphan | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Endrin | Endrin | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | most-probable number |  |  | Every 6 days exactly | Include? | 5 | 150000 | 346000 | 330000 | 560000 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC | most-probable number |  |  | Every 6 days exactly | Include? | 5 | 860000 | 1712000 | 1700000 | 2600000 | N/A | N/A | N/A | N/A | N/A
gamma-BHC (Lindane) | Lindane | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Heptachlor | Heptachlor | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.005 | <0.005 | <0.005 | <0.005 | N/A | N/A | N/A | N/A | N/A
Heptachlor epoxide | Heptachlor epoxide | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Hexachlorobenzene | HCB | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Lead | Pb | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 49.5 | 89.98 | 70.2 | 189 | N/A | N/A | N/A | N/A | N/A
Mercury | Hg | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | <0.1 | <0.1 | <0.1 | 0.1 | N/A | N/A | N/A | N/A | N/A
Methoxychlor | Methoxychlor | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Nickel | Ni | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 16.2 | 29.66 | 29.9 | 41 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Every 6 days exactly | Include? | 5 | 18 | 21.7 | 21.7 | 24.3 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Every 6 days exactly | Include? | 5 | 22 | 137.6 | 156 | 222 | N/A | N/A | N/A | N/A | N/A
p,p-DDD | DDD | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
p,p-DDE | DDE | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
p,p-DDT | DDT | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.01 | <0.01 | <0.01 | <0.01 | N/A | N/A | N/A | N/A | N/A
Polychlorinated biphenyls | PCB | micrograms per litre |  | (µg/L) | Monthly | INCLUDE? | 1 | <0.1 | <0.1 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A
Selenium | Se | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 2.9 | 10.58 | 8.7 | 18 | N/A | N/A | N/A | N/A | N/A
Silver | Ag | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 1.3 | 5.22 | 4.3 | 10 | N/A | N/A | N/A | N/A | N/A
Total Solids | Total Solids | percent by weight |  | % | Every 6 days exactly | Include? | 5 | 0.1 | 0.42 | 0.5 | 0.6 | N/A | N/A | N/A | N/A | N/A
Zinc | Zn | micrograms per litre |  | (µg/L) | Weekly | INCLUDE? | 5 | 1180 | 2426 | 2060 | 3900 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 10 |  | Site Description - Pump well between clarifier and the sludge line
Site Code 5SG0601
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight |  | % | Every 6 days exactly | Compliance | 5 | <0.1 | <0.1 | 0.1 | 0.1 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 11 |  | Site Description - Scum pump well
Site Code 5CC0600
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Total Solids | Total Solids | percent by weight |  | % | Every 6 days exactly | Include? | 5 | 0.2 | 0.38 | 0.4 | 0.5 | N/A | N/A | N/A | N/A | N/A
GROUND WATER MONITORING
EPA Id. No. 21 |  | Site Description - GW01 - upgradient bore north of plant
BURGW001
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 22 |  | Site Description - GW02 - upgradient bore north of plant
BURGW002
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 23 |  | Site Description - GW03 - upgradient bore northwest of plant
BURGW003
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 24 |  | Site Description - GW04 - downgradient bore southwest of plant
BURGW004
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 25 |  | Site Description - GW05 - downgradient bore south of plant
BURGW005
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 26 |  | Site Description - GW06 - downgradient bore, southeast of plant
BURGW006
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chromium (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chromium (total) |  | micrograms per litre |  | (mg/L) | Every 6 months | YEARLY | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Iron (dissolved) |  | micrograms per litre |  | (mg/L) | Every 6 months | INCLUDE? | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Iron |  | micrograms per litre |  | (mg/L) | Every 6 months |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 27 |  | Site Description - Effluent monitoring downstream of UV disinfection
Site Code 5SL0612
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Faecal Coliforms | FC | colony forming units per 100 mL |  | (cfu/100ml) | Every 12 days exactly | Fortnightly | 3 | ~<10 | 30 | ~30 | ~50 | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL |  | (cfu/100ml) | Every 12 days exactly | Fortnightly | 3 | <2 | 3.33 | ~4 | ~4 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  |  | 207
Monthly Summary
1 June 2026 to 30 June 2026
Monitoring Point |  |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
[5 empty] | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Ocean Outfall |  |  | 0 | 12 | kilolitres per day | 173199.679 | Daily | 30 |  | 46115.139 | 59042.0986 | 142277.024 | 510000 | Yes
Point 3 - Sludge Pumping Station |  |  | 0 | 11 | kilolitres per day | 2541.308 | Daily | 30 |  | 1942 | 2625 | 2741 | 5000 | Yes
Point 10 - Sludge Dilution |  |  | 0 | 10 | kilolitres per day | 0 | Daily | 0 |  | 0 | 0 | 0 | N/A | N/A
Point 11 - Scum Pumping Station |  |  | 0 | 15 | kilolitres per day | 46.386 | Daily | 30 |  | 0 | 62.3348 | 103.939 | N/A | N/A
Point 12 - Total Volume |  |  | 2 | 3 | kilolitres per day | 96.8 | Continuous | 30 |  | 48800 | 61666.6667 | 144900 | N/A | N/A
Point 13 - Treated Volume |  |  | 2 | 4 | kilolitres per day | 84 | Continuous | 30 |  | 44380 | 56706.3333 | 105700 | N/A | N/A
Point 17 - Bypass Volume |  |  | 2 | 9 | kilolitres per day | 12.8 | Daily | 30 |  | 0 | 5008 | 39200 | N/A | N/A
Note on E196: awebb: Last row of flow table