## Cessnock
CESSNOCK WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - JUNE 2026
|  | Environment Protection Licence No. 227 | [7 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 July 2026 | [8 empty] | 36 Honeysuckle Drive
|  | Date Published: 21 July 2026 | [8 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 2 |  | Site Description - Reclaimed Water Storage Tank
Site Code 5TE8459
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC | colony forming units per 100 mL |  |  | Weekly | WEEKLY | 4 | ~6 | 27.5 | <10 | ~84 | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | Chlorophyll a | micrograms per litre |  | (ug/L) | Weekly | WEEKLY | 4 | <1 | 2 | 2 | 3 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 0.07 | 0.205 | 0.145 | 0.46 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 2.18 | 2.425 | 2.225 | 3.07 | N/A | N/A | 20 | 3.07 | Yes
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | <2 | <2 | <2 | 2 | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | TP | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | <0.05 | 0.06 | 0.06 | 0.07 | N/A | N/A | 5 | 0.07 | Yes
Total Suspended Solids | TSS(b) | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 2 | 3.25 | 3.5 | 4 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH |  | pH | Weekly | WEEKLY | 4 | 7.29 | 7.4175 | 7.355 | 7.67 | N/A | N/A | 6.5 - 8.5 | 7.29 - 7.67 | Yes
EPA Id. No. 1 |  | Site Description - Outlet of No.3 Maturation Pond
Site Code 5OV0700
[7 empty] | No. of times measured during the month for licence reporting** | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | Chlorophyll a | micrograms per litre |  | (ug/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | TP | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS(b) | milligrams per litre |  | (mg/L) | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | pH |  | pH | Special Frequency 1 |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
** No samples were collected as no discharge occurred during the month
EPA Id. No. 3 |  | Site Description - Secondary treated effluent
Site Code 5SI0750
[7 empty] | No. of times measured during the month for licence reporting** | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 3 | 3.5 | 3.5 | 4 | N/A | N/A | 20 | 4 | Yes
Faecal Coliforms | FC | colony forming units per 100 mL |  |  | Weekly | WEEKLY | 4 | 39000 | 166000 | 62500 | 500000 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 0.83 | 1.2275 | 0.995 | 2.09 | N/A | N/A | 5 | 2.09 | Yes
Nitrogen (total) | Total N | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 4.38 | 5.72 | 5.695 | 7.11 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | TP | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | 0.52 | 1.0725 | 0.87 | 2.03 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 4 | <1 | 2 | 2 | 3 | N/A | N/A | 25 | 3 | Yes
pH | pH | pH |  | pH | Weekly | WEEKLY | 4 | 7.22 | 7.2525 | 7.26 | 7.27 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  |  | 74
Monthly Summary
1 June 2026 to 30 June 2026
Monitoring Point |  |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
[5 empty] | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Overflow from Pond 3 Weir |  |  | 0 | 4 | kilolitres per day | 2 | Daily | 30 |  | 0 | 0 | 0 | N/A | N/A
Point 2 - Discharge from Reclaimed Water Storage Tank at TTP |  |  | 0 | 3 | kilolitres per day | 10346 | Daily | 30 |  | 3412 | 7394.4667 | 8621 | 35000 | Yes
** No samples were collected as no discharge occurred during the month
Chlorophyll 'a'
Chlorophyll 'a'
15500
N/A
N/A
Note on E68: awebb: Last row of flow table