## Dora Creek
DORA CREEK WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - JUNE 2026
|  | Environment Protection Licence No. 1771 | [7 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 July 2026 | [8 empty] | 36 Honeysuckle Drive
|  | Date Published: 21 July 2026 | [8 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 15 |  | Site Description - Dora Creek WWTW overflow
Site Code 5OV0800
[7 empty] | No. of times measured during the month for licence reporting* | Monthly Summary
1 June 2026 to 30 June 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | pH |  | pH | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre |  | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
*No samples were collected as no overflow occurred during the month
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  |  | 31
Monthly Summary
1 June 2026 to 30 June 2026
Monitoring Point |  |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume Limit | Within Limits
[5 empty] | Measurement |  | Frequency
Point 16 - Dora Creek Effluent Pump Station |  |  | 2 | 18 | kilolitres per day | 14.87 | Continuous | 30 |  | 1987 | 6902.6667 | 12302 | N/A | N/A
Chlorophyll 'a'
Chlorophyll 'a'
Chlorophyll 'a'
15500
N/A
N/A
Note on E26: awebb: Last row of flow table