## Dora
DORA CREEK WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2019-2020
| Environment Protection Licence No. 1771 |  |  |  | Hunter Water Corporation
| Date Obtained: 1 July 2020 |  |  |  | 36 Honeysuckle Drive
| Date Published: 20 July 2020 |  |  |  | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 15 | Site Description - Dora Creek WWTW overflow
Site Code 5OV0800
|  |  | No. of times measured during the year for licence reporting # | Annual Summary
1 July 2019 - 30 June 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Daily during any discharge | 0 | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Daily during any discharge | 0 | - |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Daily during any discharge | 0 | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# No samples collected as no overflow occurred during the Annual Return period.
VOLUME MONITORING
Annual Summary
1 July 2019 - 30 June 2020
Monitoring Point |  | Unit of | Sampling | No. of times measured during the year |  |  | Volume | Within
|  | Measurement | Frequency |  |  | Maximum | Limit | Limits?
Point 16 - Dora Creek Effluent Pump Station |  | kilolitres per day | Daily | 366 |  | 14734 | N/A | N/A