## Dungog WTP
DUNGOG WATER TREATMENT PLANT - ANNUAL POLLUTION MONITORING SUMMARY - 2024-2025
| Environment Protection Licence No. 2863 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: 2 April 2025 | [5 empty] | 36 Honeysuckle Drive
| Date Published: 5 August 2025 | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Sludge Lagoon 1 Outlet Pit
|  |  | No. of times measured during the year for licence reporting* | Annual Summary
30 March 2024 to 29 March 2025
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Aluminium (Soluble) | milligrams per litre | Monthly | 12 | <0.005 | 0.064 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Total Chlorine | milligrams per litre | Monthly | 12 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Fluoride | milligrams per litre | Monthly | 12 | <0.1 | 0.1 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Iron | milligrams per litre | Monthly | 12 | 0.63 | 45 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Manganese | milligrams per litre | Monthly | 12 | 1.1 | 7.99 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | milligrams per litre | Monthly | 12 | 5.5 | 6.7 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Total Suspended Solids | milligrams per litre | Monthly | 12 | 1 | 56 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Aluminium (Soluble) is the result after filtration through 0.45 micron filter.
EPA Id. No. 2 | Site Description - Sludge Lagoon 2 Outlet Pit
|  |  | No. of times measured during the year for licence reporting ** | Annual Summary
30 March 2024 to 29 March 2025
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Aluminium (Soluble) | milligrams per litre | Monthly | 6 | <0.005 | 0.151 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Total Chlorine | milligrams per litre | Monthly | 6 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Fluoride | milligrams per litre | Monthly | 6 | 0.2 | 0.3 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Iron | milligrams per litre | Monthly | 6 | 33.8 | 97.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Manganese | milligrams per litre | Monthly | 6 | 25 | 35.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | milligrams per litre | Monthly | 6 | 6.2 | 6.9 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Total Suspended Solids | milligrams per litre | Monthly | 6 | 36 | 160 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Aluminium (Soluble) is the result after filtration through 0.45 micron filter.
**Only 6 samples were collected for the purposes of reporting as Sludge Lagoon 2 was offline from 27/08/24 to 29/01/25
EPA Id. No. 3 | Site Description - Stormwater culvert at boundary of plant on the north side of Wade Street
|  |  | No. of times measured during the year for licence reporting | Annual Summary
30 March 2024 to 29 March 2025
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Aluminium (Soluble) | milligrams per litre | Monthly | 12 | <0.005 | 0.009 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Total Chlorine | milligrams per litre | Monthly | 12 | <0.1 | <0.1 | N/A | N/A | N/A | N/A | N/A | N/A | TBD | N/A | N/A
Fluoride | milligrams per litre | Monthly | 12 | 0.1 | 0.2 | N/A | N/A | N/A | N/A | N/A | N/A | 1.5 | 0.2 | Yes
Iron | milligrams per litre | Monthly | 12 | 0.708 | 3.82 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Manganese | milligrams per litre | Monthly | 12 | 0.928 | 4.31 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | milligrams per litre | Monthly | 12 | 6.5 | 7.5 | N/A | N/A | N/A | N/A | N/A | N/A | 6.5 - 8.5 | 6.5 - 7.5 | Yes
Total Suspended Solids | milligrams per litre | Monthly | 12 | <1 | 14 | N/A | N/A | N/A | N/A | N/A | N/A | 50 | 14 | Yes
Aluminium (Soluble) is the result after filtration through 0.45 micron filter.
VOLUME MONITORING
Annual Summary
30 March 2024 to 29 March 2025
|  | Unit of | Sampling | No. of times measured during the year |  |  |  |  | Volume | Within
Monitoring Point |  | Measurement | Frequency |  |  | Minimum | Mean | Maximum | Limit*** | Limits?
Point 3 - Stormwater Culvert at Boundary of plant |  | kilolitres per day | Daily | 365 |  | 30 | 281 | 4940 | 2000 | Yes
***Volume limit may be exceeded if the discharge is due to planned maintenance and the EPA is notified and approves the additional discharge prior to the activity, or if caused by emergency activity and the EPA is notified as soon as is possible