## Dungog WWTW (hidden)
DUNGOG WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY
| Environment Protection Licence No. 4197 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: 3 April 2017 | [5 empty] | 36 Honeysuckle Drive
| Date Published: | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 4 | Site Description - Pumped discharges to Williams River
Site Code 5DU0006
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2016 to 31 March 2017
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E.coli | colony forming units per 100 mL | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Orthophosphate | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Within first 24hrs then every 3 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 5 | Site Description - Overflow drain to Williams River
Site Code
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2016 to 31 March 2017
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E.coli | colony forming units per 100 mL | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate+Nitrite(oxidised nitrogen) | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Orthophosphate | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | One sample per discharge event then every 7 days |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 3 - Site Code 5DU0001 EPA Id. No. 4 - Site Code 5DU0006 EPA Id. No. 5 - Site Code 5DU0016 | Site Description - Discharge to Utilisation Area Site Description - Pumped Discharges to Williams River Site Description - Overflow from Wet Weather Storage Pond
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2016 to 31 March 2017
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency * |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
* As per the note under the licence condition M2.3, it is acceptable for the licensee to take a single sample of Storage Pond water (5DU0001) to meet the monitoring requirements for Points 3, 4 and 5.
EPA Id. No. 8 | Site Description - Humus Effluent
Site Code 5DU0002
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2016 to 31 March 2017
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 40 | 5 | 75 | 40 | N/A | 50 | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly | 40 | <1.0 | 63 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 40 | 9000 | 5100000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | 40 | 15 | 35.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | 40 | <2 | 7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 40 | 6.9 | 7.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | 40 | 3.2 | 7.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 40 | 7 | 178 | 50 | N/A | 80 | N/A | N/A | N/A | N/A | N/A | N/A

## Dungog WWTW All
DUNGOG WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2019-20
| Environment Protection Licence No. 4197 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: 8 April 2020 | [5 empty] | 36 Honeysuckle Drive
| Date Published: 23 April 2020 | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
Site Code 5DU0001 | Site Description - Effluent Storage Pond
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2019 to 31 March 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency * |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 53 | <2 | 46 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly | 53 | <1.0 | 681 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 53 | <91 | 73000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | 53 | 5.5 | 16.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | 53 | <2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 53 | 7.07 | 9.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | 53 | 3.2 | 6.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 53 | <1 | 124 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
* As per the note under licence condition M2.3, it is acceptable for the licensee to take a single sample of Effluent Storage Pond water (5DU0001) monthly to meet the monitoring requirements for Points 3, 4 and 5, provided that sample is representative of waters discharged via Points 3, 4 and 5.
EPA Id. No. 3 | Site Description - Effluent Utilisation Pump
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2019 to 31 March 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency * |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 36 | <2 | 32 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly | 36 | <1.0 | 681 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 36 | <91 | 73000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | 36 | 5.5 | 16.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | 36 | <2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 36 | 7.07 | 9.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | 36 | 3.3 | 6.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 36 | <1 | 124 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring data is taken from the Effluent Storage Pond for each week that discharge occurred via Point 3. This monitoring data is from the same data set that comprises the Effluent Storage Pond provided under subsite code 5DU0001.
* As per the note under the licence condition M2.3, it is acceptable for the licensee to take a single sample of Storage Pond water (5DU0001) monthly to meet the monitoring requirements for Points 3, 4 and 5, provided that sample is representative of waters discharged via Points 3, 4 and 5.
EPA Id. No. 4 | Site Description - Pump Discharges from Dam to Williams River
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2019 to 31 March 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency * |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 3 | 9 | 21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly | 3 | 11.9 | 48.9 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 3 | 4000 | 12000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | 3 | 7.6 | 9.3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | 3 | <2 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 3 | 7.54 | 7.84 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | 3 | 3.3 | 3.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 3 | 11 | 35 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring data is taken from the Effluent Storage Pond for each week that discharge occurred via Point 4. This monitoring data is from the same data set that comprises the Effluent Storage Pond provided under subsite code 5DU0001.
* As per the note under the licence condition M2.3, it is acceptable for the licensee to take a single sample of Storage Pond water (5DU0001) monthly to meet the monitoring requirements for Points 3, 4 and 5, provided that sample is representative of waters discharged via Points 3, 4 and 5.
EPA Id. No. 5 | Site Description - Overflow Drain to Williams River
|  |  | No. of times measured during the year for licence reporting # | Annual Summary
1 April 2019 to 31 March 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency * |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | micrograms per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# No discharge occurred from Point 5 during the licence period.
* As per the note under the licence condition M2.3, it is acceptable for the licensee to take a single sample of Storage Pond water (5DU0001) monthly to meet the monitoring requirements for Points 3, 4 and 5, provided that sample is representative of waters discharged via Points 3, 4 and 5.
EPA Id. No. 8 | Site Description - Humus Effluent
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 April 2019 to 31 March 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Maximum | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 53 | 11 | 104 | 40 | 36 | 50 | 59 | N/A | N/A | N/A | N/A | No
Chlorophyll a | micrograms per litre | Weekly | 53 | <1.0 | 80.3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 53 | 91000 | 7300000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | milligrams per litre | Weekly | 53 | 12.4 | 36 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Weekly | 53 | <2 | 61 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 53 | 7 | 7.42 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus-unfiltered sample | milligrams per litre | Weekly | 53 | 1.9 | 8.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 53 | 4 | 176 | 50 | 48 | 80 | 112 | N/A | N/A | N/A | N/A | No
VOLUME MONITORING
Annual Summary
1 April 2019 to 31 March 2020
Monitoring Point |  |  | Unit of | Sampling Frequency |  | No. of times measured during the year |  |  | Volume | Within
|  |  | Measurement |  |  |  |  | Maximum | Limit | Limits?
Point 1 - Inflow to Plant |  |  | kilolitres per day | Daily |  | 366 |  | 4220 | N/A | N/A
Point 3 - Effluent Utilisation Pump |  |  | kilolitres per day | Daily during any discharge |  | 149 |  | 5200 | N/A | N/A
Point 4 - Pump Discharges from Dam to Williams River |  |  | kilolitres per day | Daily during any discharge |  | 17 |  | 7320 | N/A | N/A
Point 5 - Overflow Drain to Williams River |  |  | kilolitres per day | Daily |  | 366 |  | 0 | N/A | N/A