## Sheet1
DUNGOG WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2020-21
|  | Environment Protection Licence No. 4197 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 7 April 2021 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 23 April 2021 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 5 |  | Site Description - Overflow from Irrigation Pond to Williams River
5DU0033
[6 empty] | No. of times measured during the year for licence reporting # | Monthly Summary
7 January 2021 to 31 March 2021
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TP | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# No discharge occurred from Point 5 during the licence period.
EPA Id. No. 9 |  | Site Description - Effluent Quality Monitoring immediately upstream of Effluent Reuse Storage Tank
5DU0018
[6 empty] | No. of times measured during the year for licence reporting | Monthly Summary
7 January 2021 to 31 March 2021
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 13 | <2 | 18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Weekly | WEEKLY | 13 | <1 | <9 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Weekly | WEEKLY | 13 | 2.9 | 8.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Ammonia) |  | milligrams per litre |  | Weekly |  | 13 | <0.05 | 0.46 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease |  | milligrams per litre |  | Weekly |  | 13 | <1 | <2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 13 | 7.32 | 7.59 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TP | milligrams per litre | (mg/L) | Weekly | WEEKLY | 13 | 0.09 | 1.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 13 | <1 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 9 |  | Site Description - Effluent Quality Monitoring immediately upstream of Effluent Reuse Storage Tank while discharging to the Williams River
5DU0018
[6 empty] | No. of times measured during the year for licence reporting * | Monthly Summary
7 January 2021 to 31 March 2021
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency# |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 7 | <2 | 15 | 5 | <2 | 10 | <2 | N/A | N/A | 20 | 15 | Yes
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Special Frequency 1 | WEEKLY | 7 | <1 | <9 | 150 | <9 | 200 | <9 | N/A | N/A | 500 | <9 | Yes
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 7 | 2.9 | 9 | 8 | 6.1 | 15 | 8.2 | N/A | N/A | 20 | 9 | Yes
Nitrogen (Ammonia) |  | milligrams per litre |  | Special Frequency 1 |  | 7 | <0.05 | 0.06 | 1 | <0.05 | 3 | <0.05 | N/A | N/A | 5 | 0.06 | Yes
Oil and Grease |  | milligrams per litre |  | Special Frequency 1 |  | 7 | <1 | <2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Special Frequency 1 | WEEKLY | 7 | 7.29 | 7.4 | N/A | N/A | N/A | N/A | N/A | N/A | 6.5 - 8.5 | 7.29 - 7.40 | Yes
Total Phosphorus | TP | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 7 | 0.09 | 0.62 | 0.3 | 0.26 | 1 | 0.45 | N/A | N/A | 2 | 0.62 | Yes
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 7 | <1 | 4 | 5 | <1 | 10 | 3 | N/A | N/A | 30 | 4 | Yes
* The 50 percentile and 90 percentile concentration limits do not apply when there are less than 10 required sampling events during discharges to the Williams River within the annual return reporting period.
# Special Frequency 1 means the collection of one sample per discharge or overflow event to the Williams River and one sample to be collected in every consecutive seven day period for discharge events that occur for durations of longer than seven days.
EPA Id. No. 11 |  | Site Description - Overflow from Wet Weather Storage Pond to the Williams River
5DU0034
[6 empty] | No. of times measured during the year for licence reporting | Monthly Summary
7 January 2021 to 31 March 2021
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency# |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 2 | 2 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | TN | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 2 | 420 | 2700 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) |  | milligrams per litre |  | Special Frequency 1 |  | 2 | 5.3 | 5.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | pH | pH | pH | Special Frequency 1 | WEEKLY | 2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | TP | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 2 | 7.41 | 7.71 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TSS | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 2 | 0.76 | 0.81 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids |  | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 2 | 1 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# Special Frequency 1 means the collection of one sample per discharge or overflow event to the Williams River and one sample to be collected in every consecutive seven day period for discharge events that occur for durations of longer than seven days.
VOLUME MONITORING |  |  | 107
Annual Summary
7 January 2021 to 31 March 2021
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the year |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Inflow to Plant |  |  | 4 | kilolitres per day | 65.8 | Daily | 84 |  | 442 | 1333 | 3445 | N/A | N/A
Point 3 - Effluent Discharge to Utilisation area |  |  | 4 | kilolitres per day | 65.8 | Daily | 84 |  | 0 | 1200 | 2900 | N/A | N/A
Point 5 - Overflow from Irrigation Pond to Williams River |  |  | 4 | kilolitres per day | 65.8 | Daily | 84 |  | 0 | 0 | 0 | N/A | N/A
Point 10 - Discharge to the Williams River or Irrigation Pond from the Effluent Reuse Storage Tank |  |  | 4 | kilolitres per day | 65.8 | Daily | 84 |  | 0 | 1199 | 1672 | 2,040* | Yes
Point 11 - Overflow from Wet Weather Storage Pond to the Williams River |  |  | 6 | kilolitres per day | 0 | Daily | 84 |  | 0 | 67 | 1040 | N/A | N/A
* The volume limit for Point 10 only applies to discharges to the Williams River that pass through Point 10.
Note on D76: awebb: Last row of flow table