## Sheet1
DUNGOG WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2021-2022
|  | Environment Protection Licence No. 4197 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 5 April 2022 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 26 April 2022 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 5 |  | Site Description - Overflow from Irrigation Pond to Williams River
Subsite Code: 5DU0033
[6 empty] | No. of times measured during the year for licence reporting # | Monthly Summary
01 April 2021 to 31 March 2022
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TP | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Special Frequency 1 |  | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# No discharge occurred from Point 5 during the licence period.
EPA Id. No. 9 |  | Site Description - Effluent Quality Monitoring immediately upstream of Effluent Reuse Storage Tank
Subsite Code: 5DU0018
[6 empty] | No. of times measured during the year for licence reporting | Monthly Summary
01 April 2021 to 31 March 2022
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 52 | <2 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Weekly | WEEKLY | 52 | <1 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Weekly | WEEKLY | 52 | 1.5 | 8.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Ammonia) |  | milligrams per litre |  | Weekly |  | 52 | <0.05 | 0.33 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease |  | milligrams per litre |  | Weekly |  | 52 | <2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 52 | 7.24 | 8.15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TP | milligrams per litre | (mg/L) | Weekly | WEEKLY | 52 | 0.08 | 5.09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 52 | <1 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 9 |  | Site Description - Effluent Quality Monitoring immediately upstream of Effluent Reuse Storage Tank while discharging to the Williams River
Subsite Code: 5DU0035
[6 empty] | No. of times measured during the year for licence reporting | Monthly Summary
01 April 2021 to 31 March 2022
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 17 | <2 | 8 | 5 | <2 | 10 | 5 | N/A | N/A | 20 | 8 | Yes
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | Special Frequency 1 | WEEKLY | 17 | <1 | <9 | 150 | <1 | 200 | <9 | N/A | N/A | 500 | <9 | Yes
Nitrogen (Total) | TN | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 17 | 2.2 | 6.5 | 8 | 3.3 | 15 | 6 | N/A | N/A | 20 | 6.5 | Yes
Nitrogen (Ammonia) |  | milligrams per litre |  | Special Frequency 1 |  | 17 | <0.05 | 0.09 | 1 | <0.05 | 3 | 0.07 | N/A | N/A | 5 | 0.09 | Yes
Oil and Grease |  | milligrams per litre |  | Special Frequency 1 |  | 17 | <2 | 2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Special Frequency 1 | WEEKLY | 17 | 6.84 | 7.61 | N/A | N/A | N/A | N/A | N/A | N/A | 6.5 - 8.5 | 6.84 - 7.61 | Yes
Total Phosphorus | TP | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 17 | 0.08 | 0.32 | 0.3 | 0.18 | 1 | 0.25 | N/A | N/A | 2 | 0.32 | Yes
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 17 | <1 | 5 | 5 | <1 | 10 | 4 | N/A | N/A | 30 | 5 | Yes
EPA Id. No. 11 |  | Site Description - Overflow from Wet Weather Storage Pond to the Williams River
Subsite Code: 5DU0034
[6 empty] | No. of times measured during the year for licence reporting | Monthly Summary
01 April 2021 to 31 March 2022
|  | Unit of |  | Sampling |  |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 4 | 6 | 21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | TN | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 4 | 3700 | 30000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (Total) |  | milligrams per litre |  | Special Frequency 1 |  | 4 | 6.7 | 7.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | pH | pH | pH | Special Frequency 1 | WEEKLY | 4 | <2 | <2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | TP | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 4 | 7.24 | 7.58 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Phosphorus | TSS | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 4 | 0.82 | 0.94 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids |  | milligrams per litre | (mg/L) | Special Frequency 1 | WEEKLY | 4 | 15 | 27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
VOLUME MONITORING |  |  | 107
Annual Summary
01 April 2021 to 31 March 2022
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | ^No. of times measured during the year |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - Inflow to Plant |  |  | 4 | kilolitres per day | 65.8 | Daily | 365 |  | 374 | 855 | 4249 | N/A | N/A
Point 3 - Effluent Discharge to Utilisation area |  |  | 4 | kilolitres per day | 65.8 | Daily | 365 |  | 0 | 933 | 2900 | N/A | N/A
Point 5 - Overflow from Irrigation Pond to Williams River |  |  | 4 | kilolitres per day | 65.8 | Daily | 365 |  | 0 | 0 | 0 | N/A | N/A
Point 10 - Discharge to the Williams River or Irrigation Pond from the Effluent Reuse Storage Tank |  |  | 4 | kilolitres per day | 65.8 | Daily | 365 |  | 0 | 820 | 1655 | 2,040* | Yes
Point 11 - Overflow from Wet Weather Storage Pond to the Williams River |  |  | 6 | kilolitres per day | 0 | Daily | 365 |  | 0 | 32 | 1776 | N/A | N/A
* The volume limit for Point 10 only applies to discharges to the Williams River that pass through Point 10.
Note on D75: awebb: Last row of flow table
Note on H13: jloader: Update dates
Note on H29: jloader: Update dates
Note on H45: jloader: Update dates
Note on H62: jloader: Update dates