## Edgeworth
EDGEWORTH WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - DECEMBER 2020
|  | Environment Protection Licence No. 1771 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 January 2021 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 21 January 2021 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 7 |  | Site Description - Edgeworth WWTW Overflow
Site Code 5SL0901
[6 empty] | No. of times measured during the month for licence reporting * | Monthly Summary
1 December 2020 to 31 December 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
*No samples were collected as no overflow occurred during the month
VOLUME MONITORING |  |  | 26
Monthly Summary
1 December 2020 to 31 December 2020
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume Limit | Within Limits
|  |  |  | Measurement |  | Frequency
Point 14 - Edgeworth Effluent Pump Station |  |  | 5 | kilolitres per day | 36.26 | Daily | 31 |  | 10510 | 27315 | 36260 | N/A | N/A
Note on D21: awebb: Last row of flow table