## Edge
EDGEWORTH WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2020-21
| Environment Protection Licence No. 1771 |  |  |  | Hunter Water Corporation
| Date Obtained: 1 July 2021 |  |  |  | 36 Honeysuckle Drive
| Date Published: 21 July 2021 |  |  |  | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 7 | Site Description - Edgeworth WWTW Overflow
Site Code 5SL0901
|  |  | No. of times measured during the year for licence reporting | Annual Summary
1 July 2020 - 30 June 2021
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Daily during any discharge | 26 | <2 | 8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Daily during any discharge | 26 | 6.74 | 7.41 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Daily during any discharge | 26 | <1 | 25 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
VOLUME MONITORING
Annual Summary
1 July 2020 - 30 June 2021
Monitoring Point |  | Unit of | Sampling | No. of times measured during the year |  |  |  |  | Volume | Within
|  | Measurement | Frequency |  |  | Minimum | Mean | Maximum | Limit | Limits?
Point 14 - Edgeworth Effluent Pump Station |  | kilolitres per day | Daily | 365 |  | 0 | 21881 | 37770 | N/A | N/A