## Kearsley
KEARSLEY WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - JULY 2026
|  | Environment Protection Licence No. 3232 | [7 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 3 August 2026 | [8 empty] | 36 Honeysuckle Drive
|  | Date Published: 20 August 2026 | [8 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - No.2 oxidation pond to tailings dams for evaporation and discharge to Swamp Creek tributary
Site Code 5SL2600
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 July 2026 to 31 July 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 5 | 3 | 5.2 | 5 | 8 | N/A | N/A | 60 | 8 | Yes*
Chlorophyll a | Chlorophyll a | micrograms per litre |  | (ug/L) | Weekly | WEEKLY | 5 | 11 | 45.2 | 38 | 98 | N/A | N/A | N/A | N/A | N/A
Enterococci | Ent Hdn | colony forming units per 100 mL |  | CFU/100mL | Monthly | MONTHLY | 1 | ~18 | ~18 | ~18 | ~18 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 15.9 | 15.9 | 15.9 | 15.9 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 17.05 | 17.05 | 17.05 | 17.05 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
Oxidised nitrogen | TON | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | <0.05 | <0.05 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH |  | pH | Weekly | WEEKLY | 5 | 7.62 | 7.728 | 7.73 | 7.87 | N/A | N/A | N/A | N/A | N/A
Phosphorus (dissolved reactive) | Reactive Phosphorus | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 6.81 | 6.81 | 6.81 | 6.81 | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Total Phosphorus | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 6.92 | 6.92 | 6.92 | 6.92 | N/A | N/A | N/A | N/A | N/A
Total Kjedahl Nitrogen | TKN | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 17 | 17 | 17 | 17 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 5 | 6 | 9.4 | 8 | 14 | N/A | N/A | 70 | 14 | Yes*
*The licensee is not taken to have exceeded a quality limit specified in this licence for pH, BOD or TSS if the licensee shows that the level of chlorophyll-a in the oxidation ponds during any exceedance was 100 ug/L or more (showing that the exceedance was caused by excessive algal growth).
EPA Id. No. 2 |  | Site Description - Tailings Dam discharge from the premises to Swamp Creek
Site Code 5MF2600
[7 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 July 2026 to 31 July 2026
|  | Unit of |  |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 5 | <2 | 3.8 | 4 | 5 | N/A | N/A | N/A | N/A | N/A
Chlorophyll a | Chlorophyll a | micrograms per litre |  | (ug/L) | Weekly | WEEKLY | 5 | 5 | 23.6 | 20 | 50 | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL |  | CFU/100mL | Monthly | MONTHLY | 1 | ~8 | ~8 | ~8 | ~8 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 2.97 | 2.97 | 2.97 | 2.97 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 5.65 | 5.65 | 5.65 | 5.65 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
Oxidised nitrogen | TON | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | <0.05 | <0.05 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH |  | pH | Weekly | WEEKLY | 5 | 7.42 | 7.504 | 7.5 | 7.59 | N/A | N/A | N/A | N/A | N/A
Phosphorus (dissolved reactive) | Reactive Phosphorus | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 3.8 | 3.8 | 3.8 | 3.8 | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | Total Phosphorus | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 4.14 | 4.14 | 4.14 | 4.14 | N/A | N/A | N/A | N/A | N/A
Total Kjedahl Nitrogen | TKN | milligrams per litre |  | (mg/L) | Monthly | MONTHLY | 1 | 5.6 | 5.6 | 5.6 | 5.6 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre |  | (mg/L) | Weekly | WEEKLY | 5 | 3 | 10.6 | 9 | 22 | N/A | N/A | N/A | N/A | N/A
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  |  | 61
Monthly Summary
1 July 2026 to 31 July 2026
Monitoring Point |  |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
[5 empty] | Measurement |  | Frequency | [5 empty] | Limit
Point 1 - No.2 oxidation pond to tailings dams for evaporation and discharge to Swamp Creek tributary |  |  | 0 | 3 | kilolitres per day | 0.80514 | Continuous | 31 |  | 163 | 233.8387 | 390 | 2500 | Yes
Point 3 - Tailings Dam discharge from the premises to Swamp Creek |  |  | 0 | 4 | kilolitres per day | 0.80514 | Continuous during discharge | 31 |  | 51 | 129.0645 | 218 | N/A | N/A
Chlorophyll 'a'
Chlorophyll 'a'
15500
N/A
N/A
Note on E55: awebb: Last row of flow table