## Sheet1
KEARSLEY WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - AUGUST 2019
|  | Environment Protection Licence No. 3232 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 2 September 2019 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 17 September 2020 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Discharge from No.2 Oxidation Pond
Site Code 5SL2600
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 August 2019 to 31 August 2019
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 5 | 17.5 | 6.5 | 52 | N/A | N/A | 60 | 52 | Yes
Chlorophyll a | Chlorophyll a | micrograms per litre | (ug/L) | Weekly | WEEKLY | 4 | 1.9 | 7.925 | 5.05 | 19.7 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 18.8 | 18.8 | 18.8 | 18.8 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 34.88 | 34.88 | 34.88 | 34.88 | N/A | N/A | N/A | N/A | N/A
Oil and Grease | Grease | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 9 | 9 | 9 | 9 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 4 | 7.58 | 7.6975 | 7.715 | 7.78 | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | TP | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 10.3 | 10.3 | 10.3 | 10.3 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | 1 | 49 | 7 | 181 | N/A | N/A | 70 | 181 | No*
*Once the elevated results were received, the oxidation ponds were visually inspected by the operator. The operator reported that Pond 1 and Pond 2 were not the same shade of green and Pond 2 appeared to contain a significant population of water based organisms. Monitoring of the ponds continued over the following weeks and no further TSS exceedances occurred.
VOLUME MONITORING |  |  | 31
Monthly Summary
1 August 2019 to 31 August 2019
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  |  | Volume | Within Limits
|  |  |  | Measurement |  | Frequency |  |  | Maximum | Limit
Point 1 - Discharge from No.2 Oxidation Pond |  |  | 7 | kilolitres per day | 0.42984 | Daily | 31 |  | 429.84 | 2500 | Yes
EPA Id. No. 1 |  | Site Description - Discharge from No.2 Oxidation Pond
Site Code 5SL2600
|  | Unit of | Measurement |  | Original Data | Corrected Data | Date Corrected | Date Originally Published | Reason
Pollutant |  | Measurement
TSS |  | mg/L |  | Within Limits | No | No* | 2020-09-08 | 2019-09-19 | Desktop audit finding
N/A |  | N/A |  | * | No comment provided | Comment added | 2020-09-08 | 2019-09-19 | Desktop audit finding