## Tanilba Bay
TANILBA BAY WASTEWATER TREATMENT WORKS - ANNUAL POLLUTION MONITORING SUMMARY - 2019-2020
| Environment Protection Licence No. 4435 | [7 empty] | Licensee | Hunter Water Corporation
| Date Obtained: 6 October 2020 | [8 empty] | 36 Honeysuckle Drive
| Date Published: 23 October 2020 | [8 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Immediately downstream of the UV Disinfection System
Site Code 5SL2900
|  |  | No. of times measured during the year for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 53 | <2 | 9 | N/A | N/A | 10 | 5 | N/A | N/A | N/A | 30 | 9 | Yes
Conductivity | microsiemens per centimetre | Monthly | 12 | 486 | 648 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + Nitrite (oxidised nitrogen) | milligrams per litre | Monthly | 12 | 3.5 | 10.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Monthly | 12 | 0.11 | 0.67 | N/A | N/A | 3 | 0.5 | N/A | N/A | N/A | 5 | 0.67 | Yes
Nitrogen (total) | milligrams per litre | Monthly | 12 | 5.1 | 11.4 | 15 | 6.3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes
Oil and Grease | milligrams per litre | Fortnightly | 27 | <2 | <5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 53 | 6.91 | 7.55 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 6.5 - 8.5 | 6.91 - 7.55 | Yes
Phosphorus (total) | milligrams per litre | Monthly | 12 | 2.4 | 5.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 53 | <1 | 35 | N/A | N/A | 20 | 9 | N/A | N/A | N/A | 50 | 35 | Yes
EPA Id. No. 3 | Site Description - Emergency Overflow from Infiltration Pond No. 4
Site Code 5OV2900
|  |  | No. of times measured during the year for licence reporting # | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Each Overflow Event | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Each Overflow Event | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | Each Overflow Event | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Each Overflow Event | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Each Overflow Event | - | - | - | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
# No samples were collected as no overflow occurred during the reporting period
EPA Id. No. 4 | Site Description - Groundwater Bore 51
Site Code 54Z2901
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 4 | 6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 310 | 345 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | ~40 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.42 | 0.76 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 1.1 | 1.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 4.34 | 5.19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.018 | 0.079 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 4 | 7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.42 | 1.12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 5 | Site Description - Groundwater Bore 151
Site Code 54Z2902
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 413 | 546 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | ~42 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.68 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 1.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.6 | 3.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.43 | 6.56 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.008 | 0.21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 2 | 181 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 1.1 | 2.09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 6 | Site Description - Groundwater Bore 251
Site Code 54Z2903
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 398 | 448 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | <1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.65 | 0.98 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 1 | 1.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 5.95 | 6.08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | <0.005 | 0.018 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 9 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.82 | 1.96 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 7 | Site Description - Groundwater Bore 52
Site Code 54Z2904
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 436 | 550 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.34 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.08 | 1.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.5 | 2.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.73 | 6.82 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.006 | 0.018 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 1.18 | 2.88 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 8 | Site Description - Groundwater Bore 152
Site Code 54Z2905
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 396 | 547 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | <1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 2.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.4 | 2.9 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.74 | 6.86 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.007 | 0.017 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 1.35 | 2.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 9 | Site Description - Groundwater Bore 252
Site Code 54Z2906
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 2 | 6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 427 | 683 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | <1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.46 | 1.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.9 | 1.9 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.69 | 6.75 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.007 | 0.022 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 51 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 1.42 | 2.12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 10 | Site Description - Groundwater Bore 53
Site Code 54Z2907
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 477 | 491 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | 0.24 | 0.71 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 0.52 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.5 | 1.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.66 | 6.96 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | <0.005 | 0.017 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.54 | 1.38 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 11 | Site Description - Groundwater Bore 153
Site Code 54Z2933
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 497 | 516 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | ~<1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.12 | 0.87 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.6 | 1.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.66 | 6.76 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | <0.005 | 0.02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.45 | 1.33 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 12 | Site Description - Groundwater Bore 253
Site Code 54Z2934
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 479 | 717 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | <1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.37 | 0.72 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 1.1 | 0.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.32 | 6.52 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | <0.005 | 0.01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 1 | 21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.58 | 1.35 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 13 | Site Description - Groundwater Bore 54
Site Code 54Z2935
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 3 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 326 | 368 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 1 | 1.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 1.6 | 2.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.31 | 6.64 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | <0.005 | 0.018 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 1 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 0.75 | 1.96 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 14 | Site Description - Groundwater Bore 55
Site Code 54Z2936
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 198 | 448 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | ~2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 0.54 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.4 | 0.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 5.61 | 5.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.009 | 0.029 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 1.94 | 2.56 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 15 | Site Description - Groundwater Bore 57
Site Code 54Z2938
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | <2 | 15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 294 | 512 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <2 | ~38 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 1.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.7 | 2.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.55 | 6.74 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.035 | 0.28 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 4 | 548 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 2.32 | 3.62 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 16 | Site Description - Control Bore SK5389
Site Code 54Z3017
|  |  | No. of times measured during the month for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 6 | 7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 178 | 214 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | <1 | ~88 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | <0.05 | 0.08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | 0.26 | 2.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 0.8 | 3.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 6.25 | 6.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 0.071 | 0.38 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | 9 | 222 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Depth | metres (Australian Height Datum) | Quarterly | 4 | 2.02 | 2.95 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 17 | Site Description - Infiltration Pond 1
Site Code 54Z3013
|  |  | No. of times measured during the year for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 2 | 4 | 22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 2 | 498 | 533 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 2 | ~200 | ~230 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 2 | <0.05 | 2.7 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 2 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 2 | 2.8 | 6.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 2 | 8.99 | 9.75 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 2 | 2.4 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 2 | <1 | 78 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Note: Two samples could not be collected from Pond 1 on 02/01/20 and 09/07/20 as the pond was less than 10% capacity.
EPA Id. No. 18 | Site Description - Infiltration Pond 2
Site Code 54Z3014
|  |  | No. of times measured during the year for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 1 | 5 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 1 | 512 | 512 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 1 | ~20 | ~20 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 1 | 8.8 | 8.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 1 | 0.27 | 0.27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 1 | 9.2 | 9.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 1 | 7.53 | 7.53 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 1 | 3.8 | 3.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 1 | 3 | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Note: Three samples could not be collected from Pond 2 on 10/10/19, 02/01/20 and 09/04/20 as the pond was less than 10% capacity.
EPA Id. No. 19 | Site Description - Infiltration Pond 3
Site Code 54Z3015
|  |  | No. of times measured during the year for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 2 | 2 | 8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 2 | 237 | 510 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 2 | 13 | ~15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 2 | <0.05 | 6.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 2 | <0.05 | 0.09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 2 | 1.6 | 6.5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 2 | 6.53 | 8.53 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 2 | 0.12 | 2.8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 2 | 3 | 37 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Note: Two samples could not be collected from Pond 3 on 02/01/20 and 09/04/20 as the pond was less than 10% capacity.
EPA Id. No. 20 | Site Description - Infiltration Pond 4
Site Code 54Z3016
|  |  | No. of times measured during the year for licence reporting | Annual Report
1 October 2019 - 30 September 2020
| Unit of | Sampling |  |  |  | 50%ile | 50%ile | 90%ile | 90%ile | 3DGM | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Maximum | Limit | Actual | Limit | Actual | Limit | Number of Measurements | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Quarterly | 4 | 2 | 4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Conductivity | microsiemens per centimetre | Quarterly | 4 | 511 | 644 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Quarterly | 4 | ~20 | ~190 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | Quarterly | 4 | 3 | 6.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Quarterly | 4 | <0.05 | 0.37 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Quarterly | 4 | 4.6 | 6.6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
pH | pH | Quarterly | 4 | 7.4 | 8.04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | Quarterly | 4 | 2.9 | 3.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Quarterly | 4 | <1 | 5 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
VOLUME MONITORING
Annual Report
1 October 2019 - 30 September 2020
Monitoring Point |  |  | Unit of | Sampling | No. of times measured during the year |  |  |  |  | Volume | Within
|  |  | Measurement | Frequency |  |  | Minimum | Mean | Maximum | Limit | Limits?
Point 2 - Effluent Flume Channel |  |  | kilolitres per day | Daily | 366 |  | 0 | 1444 | 5620 | 10000 | Yes