## Toronto
TORONTO WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - APRIL 2023
|  | Environment Protection Licence No. 1771 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 May 2023 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 19 May 2023 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 8 |  | Site Description - Toronto WWTW overflow
Site Code 5OV2100
[6 empty] | No. of times measured during the month for licence reporting* | Monthly Summary
1 April 2023 to 30 April 2023
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | Ph | pH | pH | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Daily during any discharge |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No samples were collected as no overflow occurred during the month
Note: For pollutants with less than four samples measured during the monthly period see below for interpretation of summary tables: One required sample for licence reporting: Min, Mean, Median and Max values are all the exact data point Two required samples for licence reporting: Min and Max values are the two exact data points Three required samples for licence reporting: Min, Median and Max values are the three exact data points
VOLUME MONITORING |  |  | 32
Monthly Summary
1 April 2023 to 30 April 2023
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  | Minimum | Mean | Maximum | Volume | Within Limits
|  |  |  | Measurement |  | Frequency | [5 empty] | Limit
Point 4 - Carey Bay Flow Meter |  |  | 12 | kilolitres per day | 53.792 | Daily | 30 |  | 22538 | 40503.0667 | 60686 | N/A | N/A
Chlorophyll 'a'
Chlorophyll 'a'
Chlorophyll 'a'
Chlorophyll 'a'
Note on D26: awebb: Last row of flow table